| 2016 REGULATED CONTAMINANTS DETECTED |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Lead and Cooper | Date Sampled | MCLG | Action Level (AL) | 90th Percentile | No. Sites Over AL | Units | Violation | Likely Source of Contamination |
| Cooper | 2016 | 1.3 | 1.3 | 0.13 | 0 | ppm | N | Erosion of natural deposits; Leaching from wood preservatives; Corrosion of household plumbing systems. |
| Lead | 2016 | 0 | 15 | 6.5 | 0 | ppb | N | Corrosion of household plumbing systems; Erosion of natural deposits. |
| Disinfectant Residual | Collection Date | Average Level | Minimum Level | Maximum Level | MRDL | MRDLG | Units of Measure | Likely Source of Contamination |
| Chloramine | 2016 | 2.72 | 2.7 | 3.9 | 4.0 | <4.0 | ppm | Disinfectant used to control microbes. |
| Systems must complete and submit disinfection data on the Surface Water Monthly Operations Report (SWMOR). On the CCR report, the system must provide disinfectant type, minimum, maximum and average levels. |
| Disinfectants and Disinfection By-Products | Collection Date | Highest Level Detected | Range of Levels Detected | MCLG | MCL | Units | Violation | Likely Source of Contamination |
| Chlorite | 2016 | 0.96 | 0.28-0.96 | 0.8 | 1 | ppm | N | By-product of drinking water disinfection. |
| Haloacetic Acids (HAA5) | 2016 | 41.4 | 12.7-41.4 | N/A | 60 | ppb | N | By-product of drinking water chlorination. |
| Total Trihalomethanes (TThm) | 2016 | 107 | 32.6-107* | N/A | 80 | ppb | N | By-product of drinking water chlorination. |
| Not all sample results may have been used for calculating the Highest Level Detected because some results may be part of an evaluation to determine where compliance sampling should occur in the future. * Running average for one sample every three months - 2016 average was 54. |
| Inorganics Contaminants | Collection Date | Highest Level Detected | Range of Levels Detected | MCLG | MCL | Units | Violation | Likely Source of Contamination |
| Arsenic | 6/8/2016 | 1 | 71 - 71 | 0 | 10 | ppb | N | Erosion of natural deposits; Runoff from orchards. |
|  |  |  |  |  |  |  |  | Runoff from glass and electronics production wastes. |
| Barium | 06/08/2016 | 0.071 | 0.071-0.071 | 2 | 2 | ppm | N | Discharge of drilling wastes; Discharge from metal refineries; Erosion of natural deposits. |
| Cyanide | 06/08/2016 | 40.6 | 40.6-40.6 | 200 | 200 | ppb | N | Discharge from plastic and fertilizer factories. Discharge |
|  |  |  |  |  |  |  |  | from steel/metal factories. |
| Fluoride | 06/08/2016 | 0.218 | 0.218-0.218 | 4.0 | 4.0 | ppm | N | Erosion of natural deposits; Water additive which promotes strong teeth; Discharge from fertilizer and aluminum factories. |
| Nitrate (measured as Nitrogen) | 06/08/2016 | 0.031 | 0.031 | 10 | 10 | ppm | N | Runoff from fertilizer use; Leaching from septic tanks, sewage; Erosion of natural deposits. |
| Radioactive Contaminants | Collection Date | Highest Level Detected | Range of Levels Detected | MCLG | MCL | Units | Violation | Likely Source of Contamination |
| Beta/photon emitters | 03/09/2011 | 5.8 | 5.8 – 5.8 | 0 | 50 | pCi/L | N | Decay of natural and man-made deposits. |
| * EPA considers 5- pci/L to be the level of concern for beta particles. |
| Combined Radium 226/228 | 03/09/2011 | 1 | 1 – 1 | 0 | 5 | pCi/L | N | Erosion of natural deposits. |
| Synthetic Organic Contaminants Including Pesticides and Herbicides | Collection Date | Highest Level Detected | Range of Levels Detected | MCLG | MCL | Units | Violation | Likely Source of Contamination |
| Di (2-ethylhexyl) phthalate | 06/08/2016 | 0.5 | 0.5-0.5 | 0 | 6 | ppb | N | Likely source on contamination discharge from rubber and chemical factories. |
| Turbidity | Limit (Treatment Technique) | Level Detected | Violation | Likely Source of Contamination |
| Highest single measurement | 1 NTU | 0.17 NTU | N | Soil runoff. |
| Lowest monthly % meeting limit | 0.3 NTU | 100% | N | Soil runoff. |
| Turbidity is a measurement of the cloudiness of the water caused by suspended particles. We monitor it because it is a good indicator of water quality and the effectiveness of our filtration. |
| 2016 REGULATED CONTAMINANTS DETECTED (continued) |  |  |  |  |  |
| TOTAL ORGANIC CARBON | Collection Date | Average Level | Range of Levels Detected | MCLG | MCL | Units | Violation | Likely Source of Contamination |
| Source Water | 2016 | 5.82 | 5.00-7.40 | N/A | N/A | ppm | N | Naturally present in the environment |
| Drinking Water | 2016 | 3.06 | 2.70-3.40 | N/A | N/A | ppm | N | Naturally present in the environment |
| Removal Ratio | 2016 | 1.42 | 1.18-1.64 | N/A | N/A | % removal * | N | N/A |
| * Removal ratio is the percent of TOC removed by the treatment process divided by the percent of TOC required by TCEQ to be removed. This number should be greater than 1.0. |
| Total Organic Carbon (TOC) no health effects. The disinfectant can combine with TOC to form disinfection by-products. Disinfection is necessary to ensure that water does not have unacceptable levels of pathogens. Byproducts of disinfection include trihalomethanes (THMs) and Haloacetic acids (HAA) which are reported elsewhere in this report. |
| CRYPTOSPORIDIUM MONITORING INFORMATION |  |  |  |  |  |
| In 2016 the City of Mineral Wells tested our raw water monthly for Cryptosporidium, a microbial parasite that may be commonly found in surface water. Cryptosporidium may come from animal and human feces in the water shed. The results of our monitoring detected no cryptosporidium present. |
| TOTAL COLIFORM |  | REPORTED MONTHLY TESTS FOUND NO COLIFORM BACTERIA. |
| FECAL COLIFORM |  | REPORTED MONTHLY TESTS FOUND NO FECAL COLIFORM BACTERIA. |
| 2016 UNREGULATED CONTAMINANTS DETECTED |  |  |  |  |  |
| Contaminants | Collection Date | Highest Level Detected | Range of Levels Detected | MCLG | MCL | Units | Violation | Likely Source of Contamination |
| Chloroform | 2016 | 10.7 | 1.28-10.7 | N/A | N/A | ppb | N | By-product of drinking water disinfection. |
| Bromoform | 2016 | 61.40 | 1.58-61.4 | N/A | N/A | ppb | N | By-product of drinking water disinfection. |
| Bromodichloromethane | 2016 | 15.30 | 4.6-15.3 | N/A | N/A | ppb | N | By-product of drinking water disinfection. |
| Dibromochloromethane | 2016 | 37.8 | 9.8-37.8 | N/A | N/A | ppb | N | By-product of drinking water disinfection. |
| Unregulated contaminants are those for which the EPA has not established drinking water standards. The purpose of the unregulated contaminant monitoring is to |
| assist EPA in determining the occurrence of unregulated contaminants in drinking water and whether future regulations are warranted. |  |  |  |  |  |
| Secondary and Other Constituents Not Regulated | Collection Date | Highest Level Detected | Range of Levels Detected | Secondary Limit | Units | Violation | Likely Source of Contamination |
| Bicarbonate | 06/08/2016 | 75.5 | 75.5-75.5 | N/A | ppm | N | Corrosion of carbonate rocks such as limestone. |
| Chloride | 06/08/2016 | 33.9 | 33.9-33.9 | 300 | ppm | N | Abundant naturally occurring element; used in water purification; byproduct of oil field activity. |
| Hardness as Ca/Mg | 06/18/2016 | 107 | 107-107 | N/A | ppm | N | Naturally occurring calcium and magnesium |
| pH | 03/09/2016 | 7.9 | 7.9 - 7.9 | 8.5 | pH units | N | Measure of corrosivity of water. |
| Sodium | 06/08/2016 | 31 | 30.9-30.9 | N/A | ppm | N | Erosion of natural deposits; byproduct of oil field activity. |
| Sulfate | 06/08/2016 | 50.8 | 50.8-50.8 | 300 | ppm | N | Naturally occurring; common industrial byproduct; by-product of oil field activity. |
| Total Alkalinity as CaCO3 | 06/08/2016 | 20 | 20-20 | N/A | ppm | N | Naturally occurring soluble mineral salts. |
| Total Dissolved Solids | 06/08/2016 | 224 | 224-224 | 1000 | ppm | N | Total dissolved mineral constituents in water. |
| No associated adverse health effects. |  |  |  |  |  |  |  |
| WATER LOSS ESTIMATE |  |  |  |  |  |  |  |
| In the Water Loss Audit submitted to the Texas Water Development Board for the time period of January – December 2016, our system lost an estimated 39,011.67 gallons of water. This calculates to .97% loss of total produced water. The TCEQ's acceptable percentage of water loss is 10%. If you have any questions about the Water Loss Audit, please call the City of Mineral Wells Utilities Superintendent, Scott McKennon, at (940) 328-7777. |

Violations Table

| Chlorine |
| --- |
| Some people who use water containing chlorine well in excess of the MRDL could experience irritating effects to their eyes and nose. Some people who drink water containing chlorine well in excess of the MRDL could experience stomach discomfort. |
| Violation Type | Violation Begin | Violation End | Violation Explanation |
| Disinfectant Level Quarterly Operating Report (DLQOR). | 01/01/2016 | 03/31/2016 | We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated. |
| Disinfectant Level Quarterly Operating Report (DLQOR). | 07/01/2016 | 09/30/2016 | We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated. |

| Lead and Copper Rule |
| --- |
| The Lead and Copper Rule protects public health by minimizing lead and copper levels in drinking water, primarily by reducing water corrosivity. Lead and copper enter drinking water mainly from corrosion of lead and copper containing plumbing materials. |
| Violation Type | Violation Begin | Violation End | Violation Explanation |
| FOLLOW-UP OR ROUTINE TAP M/R (LCR) | 10/01/2015 | 10/21/2016 | We failed to test our drinking water for the contaminant and period indicated. Because of this failure, we cannot be sure of the quality of our drinking water during the period indicated. |
| LEAD CONSUMER NOTICE (LCR) | 12/30/2015 | 01/30/2017 | We failed to provide the results of lead tap water monitoring to the consumers at the location water was tested. These were supposed to be provided no later than 30 days after learning the results. |
| LEAD CONSUMER NOTICE (LCR) | 12/30/2016 | 01/30/2017 | We failed to provide the results of lead tap water monitoring to the consumers at the location water was tested. These were supposed to be provided no later than 30 days after learning the results. |

| Public Notification Rule |
| --- |
| The Public Notification Rule helps to ensure that consumers will always know if there is a problem with their drinking water. These notices immediately alert consumers if there is a serious problem with their drinking water (e.g., a boil water emergency). |
| Violation Type | Violation Begin | Violation End | Violation Explanation |
| PUBLIC NOTICE RULE LINKED TO VIOLATION | 02/13/2015 | 11/30/2016 | We failed to adequately notify you, our drinking water consumers, about a violation of the drinking water regulations. |
| PUBLIC NOTICE RULE LINKED TO VIOLATION | 10/13/2016 | 01/03/2017 | We failed to adequately notify you, our drinking water consumers, about a violation of the drinking water regulations. |